# Concise XAI Summary — Key Drivers & Actionable Insights

### 1. Temperature is the strongest driver of energy consumption

SHAP analysis shows temperature contributes the highest share of predictive power.

- High temperatures → higher energy demand (cooling load).

- Low temperatures → moderate demand but still significant.

Actionable insight:
Optimize cooling efficiency during peak temperature windows; prioritize load shifting strategies between 12 PM–4 PM, when both temperature and consumption peak.

### 2. Lagged values (1-hour, 24-hour, 168-hour) strongly influence consumption

SHAP indicates that lag features rank among the top contributors, meaning the model relies heavily on recent patterns.

- lag_1 → immediate autocorrelation

- lag_24 → daily cyclical pattern

- lag_168 → weekly rhythm

Actionable insight:
Demand forecasting should incorporate short-term (1 hr), daily, and weekly patterns.
These patterns suggest demand-response strategies should be aligned to routine consumer behavior.

### 3. Humidity increases demand unpredictably

SHAP values show that rising humidity pushes energy usage upward, especially when combined with high temperatures.

Actionable insight:
Integrate humidity-adjusted cooling controls; deploy predictive ventilation scheduling during humid days.

### 4. Solar radiation reduces grid load during daylight hours

SHAP reveals a negative relationship: more solar radiation → lower grid energy consumption.

Actionable insight:
Expand solar integration and storage during high-radiation periods.
Align usage of flexible loads (EV charging, pumping) to solar peak hours.

### 5. Wind speed has moderate stabilizing influence

Wind speed affects outdoor cooling, reducing consumption slightly when wind is high.

Actionable insight:
Consider wind-adjusted HVAC optimization in large buildings.

### 6. Time-based features (hour, day, month) capture strong seasonal usage shifts

SHAP confirms strong periodicity:

- Peak hours: evening & early afternoon

- Weekends differ from weekdays

- Monthly seasonal trends (summer peaks)

Actionable insight:
Design tariff models and operational scheduling based on hourly and seasonal profiles to better manage peak loads.

### 7. Gradient Boosting Model outperforms ARIMA

From the final evaluation:

- GBM MAE & RMSE were significantly lower

- GBM handles non-linearity, interactions, and weather better than ARIMA

Actionable insight:
Use GBM (or XGBoost/LightGBM) for operational forecasting instead of ARIMA, especially when environmental variables matter.

### 8. SHAP Local Explanations confirm model reliability

For individual predictions:

- Temperature + lag features consistently dominate

- No unstable features or noisy behavior were observed

- Predictions align with physical expectations

Actionable insight:
The model is stable enough for operational decision-making and short-term demand planning.

# 🎯 Final Executive Summary

The XAI results reveal that temperature, time-based cycles, and lagged consumption patterns are the dominant drivers of energy consumption. Weather variables (humidity, solar radiation, wind) add predictive nuance, improving accuracy significantly. Gradient Boosting delivers superior performance over ARIMA, especially in capturing complex interactions. These insights enable practical actions such as optimized cooling schedules, solar load shifting, and season-aware demand management.